## Quote
M/s XYZ |  |  |  | QTN/320/R2/ETC/07/26
Tel: +9714 XXXXXX |  |  |  | 2026-07-28
Mob: +9715 XXXXXXXX
Email: XXXXXXXXXX |  |  |  | QUOTATION
Subject : Quotation for Fitout Work of xxxxxxxxxxxx at Mall of Qatar
Dear Sir,
On behalf of Exalter Trading & Contracting, we thank you for giving us an opportunity to submit our Best offer.
ITEMS | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
I | GENERAL PRELIMINARIES
Insurance
1 | Provision for Contractor's All Risk Insurance (CAR) including Third Party Liability (TPL) and Workmen's Compensation as per mall requirement. | Lot | 1 | 6500 | 6500
Hoarding
2 | Relocation of existing hoarding, supply and fixing of graphics & Removal of hoarding after shop completion and cart away the debris to designated waste disposal area. | Lot | 1 | 4500 | 4500 | 35 | 95 | 3325 | 2500 | 5825
Demolition
3 | Removal of existing finishes (Floor, ceiling & shop front glass) including old MEP services and cartaway the debris to designated waste disposal area. | Lot | 1 | 2250 | 2250
Progressive and Final Cleaning
4 | Progressive and Final cleaning of the shop prior to Hand-over | Lot | 1 | 2000 | 2000
QCDD & Statutory Approvals (consultant scope)
5 | Cost for preparing MEP design and obtain approval from the authorities (Municipality, QCCD and the mall management), including DC1, DC2 and completion certificate. | Lot | 1 | 13500 | 13500
I | GENERAL PRELIMINARIES |  | Sub-Total (QAR) |  | 28750
II | CIVIL AND FINISHING WORKS
FLOORING WORKS
1 | Supply and lay cement screeding with the approved thickness to achieve uniform tile level with mall flooring. As per flooring requirements | M2 | 116 | NA
2 | Installation of Client Supplied Carpet With Proper Carpet Tape laying - FL2 and FL4 | M2 | 93 | 40 | 3720
3 | Supply and installation of 20 mm Nero Port Marble as per the approved sample | M2 | 17 | 780 | 13260
4 | Supply and Installation Of Logo Eitched in the marble - SINCE 1986 and 1 Set of LIT Signage Inside in sales area | LS | 1 | 900 | 900
5 | Supply & install 5mm stainless steel transition strip in SS finish in shop front area | LM | 7 | NA
6 | Supply and install mall approved POP-IN marble in the shop front with all required polishing works. | M2 | 7 | 780 | 5460
7 | Supply and installation Of 30x30 tiles as per brand approved drawings and sample | M2 | 3 | NA
8 | Supply and installation of T Profile transition strip as per approved sample. Brass finish | LM | 34 | 100 | 3400
9 | Removal of damaged mall floor marble, supply and installation of new marble matching to the existing floor | LS | 1 | 500 | 500
CEILING
1 | Supply and installation of Ceiling Supports With Gypsum as per the Layouts to hang MEP Services Including VIP Room - Trial Room and Store Room | M2 | 120 | 115 | 13800
2 | Supply and installation of Ceiling Supports With Gyspum as per the Layouts for Sales Area Round cove Ceiling | LS | 1 | 1500 | 1500
3 | Supply and installation of Gyspum Molded Cove ready To Receive Metallic Paint as per the Layouts | LM | 19 | 80 | 1520
4 | Paint Finish Supply and install Morning Fog Fenomastic finish ceiling paint as per the Drawings and Specifications. | M2 | 120 | 30 | 3600
5 | Access Board Panels Supply and install 600x600 aluminium framed access panels for access to service platforms to FCUs, smoke detectors and junction boxes | Nos. | 5 | 150 | 750
PARTITION
1 | Gypsum Wall (Double side) Supply & installation of 100mm thck Partition, using single skin 12mm thck fire rated gypsum board on both sides on GI framing with lateral support for VIP Launge Area | M2 | 28 | 105 | 2940
2 | Gypsum Wall (Single side) Supply and install 12.5 mm thick fire rated vertical gypsum board partitions as per proposed drawings, with required channels/hangers and ready to receive Furniture | M2 | 333 | 115 | 38295
3 | Fixing of Client Supplied Wall Paper with required glue (Wall Paper by Client) | M2 | 130 | 20 | 2600
4 | Supply and apply primer and putty including sanding to receive texture paint and wall paper. (Texture Paint & Wall Paper by Others) | M2 | 267 | 14 | 3738
5 | Supply and apply fenomastic paint, including primer and sanding. RAL-9003 | M2 | 36 | 30 | 1080
6 | Supply and Installation of Wooden Door In Paint Finish as per the Approved Samples | Nos. | 3 | 3250 | 9750
7 | supply and installation Sliding Curve glass with pocket door including sand blasting and required accessories. | LS | 1 | 8900 | 8900
8 | Installation of client supplied stainless steel Metal Skirting - Electroplated - In brass Finish as per the approved sample. (Skirting by Client) | Lm | 75 | 25 | 1875
9 | Cost for making Cut-outs for wall display and TV units | LS | 1 | 1250 | 1250
SHOPFRONT WORK
1 | Supply and installation of 10 mm Double Door With Fixed Glass On Top in Clear Tempered Finish with Frames in electroplated Finish + Handles as per the approved design | Nos. | 2 | 3250 | 6500
2 | Supply and installation of 10 mm Fixed Clear Tempered Shopfront Glasses With Electroplated Frames as per the approved Design for front and side | M2 | 22 | 1200 | 26400
3 | Supply and Installation Of Clear Curved Glass- Please note it will be in 2 pieces With Horizontal Joint - as per the drawings and specifications with Electroplated Frames | Qty | 2 | 14800 | 29600
4 | Installation of LA Marquise Signage English and arabic per the approved finish and specifications on the shopfront Glass. Signage Supplied by the Client | Sets | 1 | 1000 | 1000
5 | Installation of LA Marquise Signage English and logo per the approved finish and specifications inside the store. Signage Supplied by the Client | Sets | 1 | 1000 | 1000
II | CIVIL AND FINISHING WORKS | Sub-Total (QAR) |  |  | 183338
MEP WORKS
ITEMS | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
I | FIRE FIGHTING & FIRE ALARM WORKS
1 | Complete supply,installation,detailed in the specifications and drawings to the complete satisfaction and approval of Engineer, All concerned Authorities/Client under following sections inclusive of storage | Lot |  |  | 19000
SPRINKLER SYSTEM
2 | Supply and installation of Pendant Sprinklers | No's | 10
3 | Relocation of sprinkler if required including testing and commissioning | Ls | 1
4 | Supply and Installation of Maintenance platform for fire fighting stub out. Size as required in site. | No's | 1
5 | All Pipe and fittings as required in site. | Lot | 1
6 | Supply and installation of FIRE EXTINGUISHERS i.Dry Powder Extinguisher, ii.CO2 Fire Extinguisher | No's | 2 (Each) |  |  | 7500
FIRE ALARM SYSTEM
7 | Equipments,accessories,cables and conduits including trays,trunking,terminations,supports,etc.,complete in final subcircuits as per drawings and specification | Lot |  |  |  | 22000
8 | Supply and installation of Addressable smoke Detector | No's | 5
9 | Supply and installation of Addressable Void Detector | No's | 2
10 | Supply and installation of Emergency lights self contained | No's | 5
11 | Supply and installation of Exit lights self contained | No's | 5
12 | Supply and installation of sounder | No's | 2
13 | Supply and installation of Break glass | No's | 2
14 | Supply and installation of interfacing modules | No's | 4
15 | Supply and installation of New FACP inside shop | No's | 1
16 | Testing & Commissioning, interfacing of Fire Fighting & Fire Alarm sytem with all reports and supply installation, warranty certificates certified by CD | Lot | 1
17 | Supply and installation of ZCV with pressure gauge . | Ls | 1
18 | Supply and installation of platform for voide detector, ZCV, IFU | No's | 3
I | FIRE FIGHTING & FIRE ALARM WORKS | Sub-Total (QAR) |  |  | 19000
II | HVAC WORKS
1 | Supply and installation of Volume Control Dampers | No's | 3 |  | 33000
2 | Slot Linear Diffusers as per approved specification. Powder Coating in (WHITE RAL 9010) | Ls | 1
i | 3 slot- 20 mm wide Supply Grills - New | L.M. | 5
ii | 3 slot- 20 mm wide Return Grills - New | L.M. | 5
3 | Diffuser
i | Square diffuser supply | No's | 2
ii | Square diffuser return | No's | 2
4 | Supply and installation of Pre insulated Duct including insulation, hangers, supports and accessories. | sqm | 50
5 | Supply and installation of accoustic lining for first three meters from fcu mouth to reduce the noise level asper mall requirement | sqm | 15
6 | Supply and installation of Flexible duct with VCD including hangers, supportsm accessories as per the drawings. | No's | 10
7 | Supply and installation of FCU units (3 Ton- Tr Make:Mekar) | No's | 2
8 | Supply and installation of Chilled water s-40 seamless pipe with necessary fittings including insulated with 1" rubber insulation joints sealed with black tape | LS | 1
9 | Supply and installation of valve package including 2 way modulating valve -1, Strainer -1, air vent-1, Drain cock -1 and Gatevalve -2 nos | No's | 1
10 | Supply and installation of PICV valve for valve package unit | No's | 1
11 | Chemical flushing for existing chilled water piping( if required by the mall ) | LS | 1
12 | Supply and installation of condensate drain pipe works with proper insulation | LS | 1
13 | supply and installation of BTU Metre as per the requirements | Ls | 1
13 | Supply and installation of maintenance platform for FCU | No's | 1
14 | Third party air and water balancing | Ls | 1
II | HVAC WORKS | Sub-Total (QAR) |  |  | 33000
III | ELECTRICAL WORKS
A1 | Wiring works-Supply installation ,testing and commissioning of (LSF) Cables/wire,conduits and ceiling rose in final sub-circuits,power point,connection and termination to all type of light fittings(including installation) as listed below and as per drawing and specification
1 | Spot Light Directional | LS |  |  | 5800
2 | Spot Light Beam Angle | LS
3 | Recessed Spot Light | LS
4 | 12 LED Bar Light | LS
5 | LED Pendant Light | LS
6 | Strip Light For Ceiling | LS
7 | Display shelf light | LS
A2 | Supply,installation,testing and commissioning of Master switch for lighting as shown in the drawing and as per specification complete with power cable/wiring from lighting control panels/DB.
1 | 10Amp One Way single Gang Switch | No's | 2 |  | 1500
2 | Grid switch for lighting in the retail area located at backstore | No's | 1
A3 | Supply,installation,testing and commissioning of sub-circuit wiring, conduits, trays/trunking,terminations,connection supports,fittings etc,complete as per drawings and specifications. (LSF Cables)
1 | 13A Double socket | No's | 4 |  | 13500 | 350 | 1400
2 | 13 A SINGLE SOCKET | No's | 4 |  |  | 325 | 1300
3 | Isolator for Signage with timer | No's | 2 |  |  | 600 | 1200
4 | TP Isolator for FCU | No's | 2 |  |  | 600 | 1200
5 | Conduiting and cable pulling for thermostat points | No's | 2 |  |  | 400 | 800
6 | Supply and installation of Electrical D/B as per ADDC standards including complete dressing | No's | 1 |  |  | 6500 | 6500
7 | Supply and installation of 4 core main cabling( 4C 16 SQMM XLPE/SWA/PVC + 1C 16 SQMM ECC) from isolator to DB as per mall specification | LS | 1 |  |  | 3750 | 3750
8 | Cable tray trunking conduiting fitting and accessories | LS | 1
9 | Third party cold and live test | LS | 1
III | ELECTRICAL WORKS |  |  |  | 20800
IV | IT,CCTV / ALARM & BGM WORKS
1 | Supply and installation of conduit provision for DATA / VOICE /SPEAKER SECURITY ALARM SYSTEM (all concealed conduits will be of PVC type) | Ls | 1 | 1200 | 1200
2 | Supply and installation of Speakers and Amplifier including conduiting and cabling with required all material. | LS | 1 | 6800 | 6800
Please Note Police Alarm - Sensor Fixing - Police Connectivity Under Client Scope
IV | IT,CCTV / ALARM & BGM WORKS | Sub-Total (QAR) |  |  | 8000
JOINERY BOQ
ITEMS | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
I | Furniture and Joinery Works
1 | Installation of Client Supplied Furniture. | LS | 1 | 3000 | 3000
2 | Provision for receiving furniture from the client, storage and delivery of the furniture to the site. | LS | 1 | 7500 | 7500
Client supplied Item Carpet, Lights, LED TV, Satin fabric, Chandelier, Furniture, Wallpaper & skirting
I | FURNITURE AND JOINERY WORKS | Sub-Total (QAR) |  |  | 10500
Grand Total (QAR - Three hundred thirty-eight thousand, nine hundred forty-three only ) |  |  |  |  | 303388
Specification/Clarification
1. Scope of Work:
The quotation is based on the scope of work, drawings, specifications, and information provided by the Client. Any additional work requested beyond the agreed scope shall be treated as a variation and charged separately.
2. Validity of Quotation:
This quotation is valid for 14 days from the date of issue unless otherwise stated.
3. Payment Terms
30% In Advance upon confirmation of the work
20% On Ceiling Closure
20% On Shop Front Installation
20% On Furniture Installation
10% On completion of the project
4. Exclusions
Unless specifically mentioned in the quotation, the following are excluded:
a) Massage Table, Jacuzzi, Saloon Chair, Sauna room, Moroccan bath steamer & table and Pedicure bowl
b) Loose Furniture for Reception and Lanuge
b) Shop Front Signages
5. Mobilization
Work shall commence within 3 days after receipt of the advance payment, approved drawings, and site handover.
6. Variations
Any changes to the approved design, materials, quantities, finishes, or scope requested by the Client shall be subject to a separate variation order and may affect the project cost and completion period.
7. Client Responsibilities
Provide unrestricted access to the work site.
Ensure availability of electricity and water during the construction period.
Provide timely approvals for drawings, materials, and samples.
8. Material Approval
All materials and finishes shall be subject to Client approval. Equivalent materials may be proposed if specified materials become unavailable.
9. Project Duration
The project completion period will be 45days from the date of advance payment, final design approval, and site handover.
We hope the above quote meets your requirement and we assure a quality work completed in time. If you have any further queries please feel free to contact
With Best Regards,
Exalter Trading & Contracting
Shuhaib K
Project Engineer
Mobile +974 7770 4746

## Details
BOQ Details
Shop Front Glass
SL.No. | Description | Width (cm) | Height (cm) | QTY | Total (M2)
1 | 12mm Extra Clear Glass (Temperd) | 140 | 500 |  | 7 |  |  | 2.25
2 | 12mm Extra Clear Glass (Temperd) | 140 | 500 |  | 7 |  |  | 1.6
3 | 12mm Extra Clear Glass (Temperd) | 80 | 500 |  | 4 |  |  | 2.26
4 | 12mm Extra Clear Glass (Temperd) | 80 | 500 |  | 4 |  |  | 6.11 | 5.34 | 0.77
5 | 12mm Curved-Extra Clear Glass (65cm Radius) | 105 | 250 |  | 2.625
1 | 12mm Curved-Extra Clear Glass (65cm Radius) | 105 | 250 | 4 | 10.5
Total Shop Front Glass |  |  |  |  | 35.125
Curved Glass Door
SL.No. | Description | Width | Height |  | Total (M2)
1 | 12mm Curved-Frosted Glass | 0.8 | 3 |  | 2.4 |  |  | 3.2
2 | 12mm Curved-Frosted Glass | 0.8 | 3 |  | 2.4 |  |  | 0.8
3 | 12mm Curved-Frosted Glass | 0.8 | 3 |  | 2.4
4 | 12mm Curved-Frosted Glass | 0.8 | 3 |  | 2.4
Total Curved Glass Door |  |  |  |  | 9.6
T Profile Transition Strip (Brass Finish)
SL.No. | Location | LM
1 | Central Circle | 11
2 | Outer Circle | 3
3 | Outer Circle | 3
4 | Shop Front | 7
5 | Shop Front | 7
6 | Store Room | 1
7 | Fitting Room | 1
8 | Private Launge | 1
Total LM |  | 34
Gypsum Molding on the Ceiling
SL.No. | Location | LM
1 | Central Circle | 8
2 | Central Circle | 11
Total LM |  | 19
Partition Work
MDF Cladding
SL.No. | Location | Width | Height |  | Area
1 | Right Side Wall | 2.2 | 4.5 |  | 9.9
2 | Right Side Wall -Circle | 3.75 | 4.65 |  | 17.4375
3 | Right Side Wall -Circle | 3.3 | 4.65 |  | 15.345
4 | Right Side Wall | 2.2 | 4.65 |  | 10.23
5 | Private Lauge | 2.4 | 4.5 |  | 10.8
6 | Private Lauge | 0.95 | 4.5 |  | 4.275
7 | Private Lauge | 1.8 | 4.5 |  | 8.1
8 | Private Lauge | 2.5 | 4.5 |  | 11.25
9 | Private Lauge | 2 | 4.5 |  | 9
10 | Back Wall | 1.02 | 4.65 |  | 4.743
11 | Left Side Wall | 2.2 | 4.65 |  | 10.23
12 | Left Side Wall- Circle | 3 | 4.65 |  | 13.95
13 | Left Side Wall- Circle | 2.7 | 4.65 |  | 12.555
14 | Left Side Wall | 2.9 | 4.65 |  | 13.485
15 | Left Side Wall | 1.15 | 4.65 |  | 5.3475
Total LM |  |  |  |  | 156.648
MDF Partition
SL.No. | Location | Width | Height |  | Area
1 | VIP Launge Partition | 6.1 | 4.65 |  | 28.365
Gypsum Cladding
SL.No. | Location | Width | Height |  | Area
1 | Right Side Wall | 1.26 | 4.5 |  | 5.67
2 | Right Side Wall -Circle | 0.735 | 4.65 |  | 3.4178
3 | Right Side Wall -Circle | 0.1 | 4.65 |  | 0.465
4 | Right Side Wall | 0.55 | 4.65 |  | 2.5575
5 | Private Lauge | 0.5 | 4.5 |  | 2.25
6 | Private Lauge | 1 | 4.5 |  | 4.5
7 | Private Lauge | 1.6 | 4.5 |  | 7.2
8 | Private Lauge | 5.2 | 4.5 |  | 23.4
9 | Private Lauge | 1.5 | 4.5 |  | 6.75
10 | Back Wall | 0.7 | 4.65 |  | 3.255
11 |  | 3.2 | 4.5 |  | 14.4
12 |  | 4.5 | 4.65 |  | 20.925
13 |  | 1.2 | 4.65 |  | 5.58
14 |  | 3.5 | 4.65 |  | 16.275
15 |  | 1.8 | 4.5 |  | 8.1
16 |  | 8.1 | 4.5 |  | 36.45
17 |  | 1.5 | 4.5 |  | 6.75
18 |  | 0.76 | 4.5 |  | 3.42
19 |  | 1 | 4.65 |  | 4.65
Total |  |  |  |  | 176.0152
Wall Finishes
SL.No. | Location | Width | Height |  | Area
PF-1 |  | 1.26 | 4.5 |  | 5.67
PF-1 |  | 2.9 | 4.5 |  | 13.05
PF-1 |  | 1.7 | 4.5 |  | 7.65
PF-1 |  | 5.05 | 4.5 |  | 22.725
PF-1 |  | 2.3 | 4.5 |  | 10.35
PF-1 |  | 2.4 | 4.5 |  | 10.8
PF-1 |  | 3.5 | 4.5 |  | 15.75
PF-1 |  | 1 | 4.5 |  | 4.5
PF-1 |  | 1.5 | 4.5 |  | 6.75
PF-1 |  | 2.91 | 4.5 |  | 13.095
PF-1 |  | 2.8 | 4.5 |  | 12.6
PF-1 |  | 2.65 | 1.5 |  | 3.975
PF-1 |  | 2.65 | 1.5 |  | 3.975
PF-1 |  | 2.75 | 4.5 |  | 12.375
PF-3 |  | 2.2 | 4.5 |  | 9.9 | WP-1 | 2 | 3.2 | 6.4
PF-3 |  | 0.65 | 4.5 |  | 2.925 |  |  |  | 0
PF-3 |  | 0.65 | 4.5 |  | 2.925 | WP-1 | 2 | 4.5 | 9
PF-3 |  | 0.5 | 4.5 |  | 2.25 |  |  |  | 0
PF-3 |  | 0.5 | 4.5 |  | 2.25 | WP-1 | 2 | 4.5 | 9
PF-3 |  | 2.2 | 4.5 |  | 9.9 | WP-1 | 2 | 3 | 6
PF-3 |  | 5.2 | 4.5 |  | 23.4 | WP-2 | 4.8 | 3.45 | 16.56
PF-3 |  | 2.5 | 4.5 |  | 11.25 | WP-1 | 2.3 | 3.45 | 7.935
PF-3 |  | 2 | 4.5 |  | 9 | WP-1 | 2 | 3.45 | 6.9
PF-3 |  | 3.92 | 4.5 |  | 17.64 | WP-1 | 3.4 | 3.7 | 12.58
PF-3 |  | 2.2 | 4.5 |  | 9.9 | WP-1 | 2 | 3 | 6
PF-3 |  | 0.5 | 4.5 |  | 2.25 | WP-2 | 0.75 | 3.45 | 2.5875
PF-3 |  | 0.5 | 4.5 |  | 2.25 |  |  |  | 0
PF-3 |  | 0.5 | 4.5 |  | 2.25 |  |  |  | 0
PF-3 |  | 0.5 | 4.5 |  | 2.25 |  |  |  | 0
PF-3 |  | 3 | 4.5 |  | 13.5 | WP-1 | 2.3 | 4.5 | 10.35
[5 empty] | 267.105 | WP-1 | 2.02 | 4.5 | 9.09
[6 empty] | WP-1 | 2.1 | 4.5 | 9.45
[6 empty] | WP-1 | 4.9 | 3.6 | 17.64
129.4925
FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 2.08 | 4.5 |  | 9.36
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 0.35 | 4.5 |  | 1.575
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 3.24 | 4.5 |  | 14.58
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 0.73 | 4.5 |  | 3.285
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 0.45 | 4.5 |  | 2.025
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 0.34 | 4.5 |  | 1.53
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 0.15 | 4.5 |  | 0.675
PF-2 | FENOMASTIC PAINT FINISH RAL 9003, SATIN FINISH | 0.7 | 4.5 |  | 3.15
Total Wall Paint Work |  |  |  |  | 36.18